# General Terms - BWS-RFQ-2026-041

1. Valves (BOQ item 4): mill test certificates to EN 10204 3.1 are required.

2. All wetted parts in contact with potable water must be WRAS approved.

3. Pumps (BOQ items 1-2): factory performance test certificate required.

4. Warranty: 12 months from commissioning or 18 months from delivery, whichever is earlier.

5. Quote validity: 90 days. Prices in OMR, DDP Sohar.